## About
SYC Start Year Electricity Generation Capacity
SYC Fraction of Peakers that Provide Flexibility Points
Source: | Capacities by Plant Type
Energy Information Administration
2018
Form EIA-860 detailed data for year 2017
https://www.eia.gov/electricity/data/eia860/
Generator file, "Operable" tab
(Note that many unused columns have been removed to reduce file size, improve clarity, and improve Excel's performance.)
Notes
For the U.S. dataset, we do not use the "preexisting nonretiring" quality tier. We classify all preexisting
plants in the same tier (preexisting retiring).
For the U.S. dataset, we only consider natural gas peakers that are combustion turbines
(as opposed to steam turbines and internal combustion engines) to provide flexibility points.
Because the EIA and the Annual Energy Outlook use Net Summer Capacity for many calculations
and inputs, we also use this value in our modeling.
Residual Fuel Oil
Although our data break out RFO-powered plants (which
constitute roughly one third of all petroleum-fired plants
in the U.S.), the U.S. EPS
groups all petroleum plants into one subscript,
so we assign RFO plants along with other petroleum-
fired plants to the petroleum diesel subscript.
Additional Notes for Oregon EPS
The Oregon data is adapted from the U.S. dataset, leaving the state and county columns for transparency.
Notes from the U.S. dataset were left intact.
Capacities seem in line with Oregon Department of Energy proportions:
Biennial Energy Report
2018
https://www.oregon.gov/energy/Data-and-Reports/Documents/BER-Chapter-1-Energy-Numbers.pdf#page=20
Page 20
Note: Does not include rooftop solar generation.

## Form 860_Generator
2018 Form EIA-860 Data - Schedule 3, 'Generator Data' (Operable Units Only)
Plant Code | State | County | Technology | Prime Mover | Nameplate Capacity (MW) | Summer Capacity (MW) | Associated with Combined Heat and Power System | Sector Name | Energy Source 1 | Model Energy Source | Include?
3013 | OR | Wallowa | Conventional Hydroelectric | HY | 130.5 | 145.8 | N | Electric Utility | WAT | hydro | TRUE | Include CHP Plants? | TRUE
3013 | OR | Wallowa | Conventional Hydroelectric | HY | 130.5 | 150 | N | Electric Utility | WAT | hydro | TRUE | Include Non-Utilty Plants? | FALSE
3013 | OR | Wallowa | Conventional Hydroelectric | HY | 130.5 | 149.2 | N | Electric Utility | WAT | hydro | TRUE
3014 | OR | Baker | Conventional Hydroelectric | HY | 47.5 | 55.3 | N | Electric Utility | WAT | hydro | TRUE
3014 | OR | Baker | Conventional Hydroelectric | HY | 47.5 | 54.8 | N | Electric Utility | WAT | hydro | TRUE
3014 | OR | Baker | Conventional Hydroelectric | HY | 47.5 | 54.9 | N | Electric Utility | WAT | hydro | TRUE
3014 | OR | Baker | Conventional Hydroelectric | HY | 47.5 | 54.8 | N | Electric Utility | WAT | hydro | TRUE
3020 | OR | Douglas | Conventional Hydroelectric | HY | 15 | 17.9 | N | Electric Utility | WAT | hydro | TRUE
3021 | OR | Douglas | Conventional Hydroelectric | HY | 26 | 31 | N | Electric Utility | WAT | hydro | TRUE
3024 | OR | Jackson | Conventional Hydroelectric | HY | 2.8 | 2.8 | N | Electric Utility | WAT | hydro | TRUE
3025 | OR | Klamath | Conventional Hydroelectric | HY | 3.2 | 3 | N | Electric Utility | WAT | hydro | TRUE
3026 | OR | Douglas | Conventional Hydroelectric | HY | 11 | 10.4 | N | Electric Utility | WAT | hydro | TRUE
3028 | OR | Klamath | Conventional Hydroelectric | HY | 50.3 | 50.4 | N | Electric Utility | WAT | hydro | TRUE
3028 | OR | Klamath | Conventional Hydroelectric | HY | 48.4 | 47.6 | N | Electric Utility | WAT | hydro | TRUE
3029 | OR | Douglas | Conventional Hydroelectric | HY | 32 | 32 | N | Electric Utility | WAT | hydro | TRUE
3032 | OR | Jackson | Conventional Hydroelectric | HY | 3.8 | 4.6 | N | Electric Utility | WAT | hydro | TRUE
3033 | OR | Jackson | Conventional Hydroelectric | HY | 16 | 18 | N | Electric Utility | WAT | hydro | TRUE
3033 | OR | Jackson | Conventional Hydroelectric | HY | 16 | 18 | N | Electric Utility | WAT | hydro | TRUE
3034 | OR | Jackson | Conventional Hydroelectric | HY | 7.2 | 7.7 | N | Electric Utility | WAT | hydro | TRUE
3035 | OR | Jackson | Conventional Hydroelectric | HY | 1 | 0.9 | N | Electric Utility | WAT | hydro | TRUE
3036 | OR | Douglas | Conventional Hydroelectric | HY | 18 | 18 | N | Electric Utility | WAT | hydro | TRUE
3037 | OR | Douglas | Conventional Hydroelectric | HY | 11 | 11.6 | N | Electric Utility | WAT | hydro | TRUE
3040 | OR | Douglas | Conventional Hydroelectric | HY | 14.2 | 15 | N | Electric Utility | WAT | hydro | TRUE
3040 | OR | Douglas | Conventional Hydroelectric | HY | 14.2 | 15 | N | Electric Utility | WAT | hydro | TRUE
3040 | OR | Douglas | Conventional Hydroelectric | HY | 14.2 | 15 | N | Electric Utility | WAT | hydro | TRUE
3041 | OR | Wallowa | Conventional Hydroelectric | HY | 1.1 | 1.1 | N | Electric Utility | WAT | hydro | TRUE
3045 | OR | Clackamas | Conventional Hydroelectric | HY | 3.1 | 3.9 | N | Electric Utility | WAT | hydro | TRUE
3045 | OR | Clackamas | Conventional Hydroelectric | HY | 3.1 | 3.9 | N | Electric Utility | WAT | hydro | TRUE
3045 | OR | Clackamas | Conventional Hydroelectric | HY | 2.7 | 3.4 | N | Electric Utility | WAT | hydro | TRUE
3045 | OR | Clackamas | Conventional Hydroelectric | HY | 4.5 | 5.6 | N | Electric Utility | WAT | hydro | TRUE
3045 | OR | Clackamas | Conventional Hydroelectric | HY | 4 | 5.1 | N | Electric Utility | WAT | hydro | TRUE
3045 | OR | Clackamas | Conventional Hydroelectric | HY | 19.2 | 23.9 | N | Electric Utility | WAT | hydro | TRUE
3047 | OR | Clackamas | Conventional Hydroelectric | HY | 19.2 | 27 | N | Electric Utility | WAT | hydro | TRUE
3047 | OR | Clackamas | Conventional Hydroelectric | HY | 21.6 | 31 | N | Electric Utility | WAT | hydro | TRUE
3048 | OR | Jefferson | Conventional Hydroelectric | HY | 45 | 38 | N | Electric Utility | WAT | hydro | TRUE
3048 | OR | Jefferson | Conventional Hydroelectric | HY | 32.4 | 36 | N | Electric Utility | WAT | hydro | TRUE
3048 | OR | Jefferson | Conventional Hydroelectric | HY | 32.4 | 36 | N | Electric Utility | WAT | hydro | TRUE
3049 | OR | Clackamas | Conventional Hydroelectric | HY | 3.3 | 4.3 | N | Electric Utility | WAT | hydro | TRUE
3049 | OR | Clackamas | Conventional Hydroelectric | HY | 3.3 | 4.3 | N | Electric Utility | WAT | hydro | TRUE
3049 | OR | Clackamas | Conventional Hydroelectric | HY | 3.3 | 4.3 | N | Electric Utility | WAT | hydro | TRUE
3049 | OR | Clackamas | Conventional Hydroelectric | HY | 3.9 | 5.2 | N | Electric Utility | WAT | hydro | TRUE
3049 | OR | Clackamas | Conventional Hydroelectric | HY | 5 | 6.6 | N | Electric Utility | WAT | hydro | TRUE
3050 | OR | Jefferson | Conventional Hydroelectric | HY | 112.5 | 110 | N | Electric Utility | WAT | hydro | TRUE
3050 | OR | Jefferson | Conventional Hydroelectric | HY | 130 | 121.5 | N | Electric Utility | WAT | hydro | TRUE
3050 | OR | Jefferson | Conventional Hydroelectric | HY | 130 | 121.5 | N | Electric Utility | WAT | hydro | TRUE
3053 | OR | Clackamas | Conventional Hydroelectric | HY | 1.2 | 1.4 | N | Electric Utility | WAT | hydro | TRUE
3053 | OR | Clackamas | Conventional Hydroelectric | HY | 1.2 | 1.5 | N | Electric Utility | WAT | hydro | TRUE
3053 | OR | Clackamas | Conventional Hydroelectric | HY | 1.2 | 1.4 | N | Electric Utility | WAT | hydro | TRUE
3053 | OR | Clackamas | Conventional Hydroelectric | HY | 1.2 | 1.4 | N | Electric Utility | WAT | hydro | TRUE
3053 | OR | Clackamas | Conventional Hydroelectric | HY | 1.2 | 1.2 | N | Electric Utility | WAT | hydro | TRUE
3053 | OR | Clackamas | Conventional Hydroelectric | HY | 1.2 | 1.5 | N | Electric Utility | WAT | hydro | TRUE
3053 | OR | Clackamas | Conventional Hydroelectric | HY | 1.2 | 1.5 | N | Electric Utility | WAT | hydro | TRUE
3053 | OR | Clackamas | Conventional Hydroelectric | HY | 1.2 | 1.5 | N | Electric Utility | WAT | hydro | TRUE
3053 | OR | Clackamas | Conventional Hydroelectric | HY | 1.2 | 1.5 | N | Electric Utility | WAT | hydro | TRUE
3053 | OR | Clackamas | Conventional Hydroelectric | HY | 1.2 | 1.5 | N | Electric Utility | WAT | hydro | TRUE
3053 | OR | Clackamas | Conventional Hydroelectric | HY | 1.2 | 1.5 | N | Electric Utility | WAT | hydro | TRUE
3053 | OR | Clackamas | Conventional Hydroelectric | HY | 1.2 | 1.4 | N | Electric Utility | WAT | hydro | TRUE
3053 | OR | Clackamas | Conventional Hydroelectric | HY | 1 | 1 | N | Electric Utility | WAT | hydro | TRUE
3067 | OR | Linn | Conventional Hydroelectric | HY | 52.2 | 50 | N | Electric Utility | WAT | hydro | TRUE
3067 | OR | Linn | Conventional Hydroelectric | HY | 52.2 | 50 | N | Electric Utility | WAT | hydro | TRUE
3067 | OR | Linn | Conventional Hydroelectric | HY | 9.9 | 3.8 | N | Electric Utility | WAT | hydro | TRUE
3068 | OR | Lane | Conventional Hydroelectric | HY | 8.4 | 4 | N | Electric Utility | WAT | hydro | TRUE
3068 | OR | Lane | Conventional Hydroelectric | HY | 7.5 | 4 | N | Electric Utility | WAT | hydro | TRUE
3071 | OR | Lane | Conventional Hydroelectric | HY | 8 | 7.5 | N | Electric Utility | WAT | hydro | TRUE
3074 | OR | Marion | Conventional Hydroelectric | HY | 18 | 21 | N | Electric Utility | WAT | hydro | TRUE
3075 | OR | Multnomah | Conventional Hydroelectric | HY | 53.5 | 53.5 | N | Electric Utility | WAT | hydro | TRUE
3075 | OR | Multnomah | Conventional Hydroelectric | HY | 62.1 | 54 | N | Electric Utility | WAT | hydro | TRUE
3075 | OR | Multnomah | Conventional Hydroelectric | HY | 66.5 | 66.5 | N | Electric Utility | WAT | hydro | TRUE
3075 | OR | Multnomah | Conventional Hydroelectric | HY | 66.5 | 66.5 | N | Electric Utility | WAT | hydro | TRUE
3075 | OR | Multnomah | Conventional Hydroelectric | HY | 66.5 | 66.5 | N | Electric Utility | WAT | hydro | TRUE
3075 | OR | Multnomah | Conventional Hydroelectric | HY | 66.5 | 66.5 | N | Electric Utility | WAT | hydro | TRUE
3075 | OR | Multnomah | Conventional Hydroelectric | HY | 66.5 | 66.5 | N | Electric Utility | WAT | hydro | TRUE
3075 | OR | Multnomah | Conventional Hydroelectric | HY | 66.5 | 66.5 | N | Electric Utility | WAT | hydro | TRUE
3075 | OR | Multnomah | Conventional Hydroelectric | HY | 66.5 | 66.5 | N | Electric Utility | WAT | hydro | TRUE
3075 | OR | Multnomah | Conventional Hydroelectric | HY | 66.5 | 66.5 | N | Electric Utility | WAT | hydro | TRUE
3075 | OR | Multnomah | Conventional Hydroelectric | HY | 53.5 | 53.5 | N | Electric Utility | WAT | hydro | TRUE
3075 | OR | Multnomah | Conventional Hydroelectric | HY | 62.1 | 62.1 | N | Electric Utility | WAT | hydro | TRUE
3075 | OR | Multnomah | Conventional Hydroelectric | HY | 62.1 | 62.1 | N | Electric Utility | WAT | hydro | TRUE
3075 | OR | Multnomah | Conventional Hydroelectric | HY | 62.1 | 62.1 | N | Electric Utility | WAT | hydro | TRUE
3075 | OR | Multnomah | Conventional Hydroelectric | HY | 62.1 | 62.1 | N | Electric Utility | WAT | hydro | TRUE
3075 | OR | Multnomah | Conventional Hydroelectric | HY | 62.1 | 62.1 | N | Electric Utility | WAT | hydro | TRUE
3075 | OR | Multnomah | Conventional Hydroelectric | HY | 62.1 | 62.1 | N | Electric Utility | WAT | hydro | TRUE
3075 | OR | Multnomah | Conventional Hydroelectric | HY | 62.1 | 62.1 | N | Electric Utility | WAT | hydro | TRUE
3075 | OR | Multnomah | Conventional Hydroelectric | HY | 13.1 | 13.1 | N | Electric Utility | WAT | hydro | TRUE
3075 | OR | Multnomah | Conventional Hydroelectric | HY | 13.1 | 13.1 | N | Electric Utility | WAT | hydro | TRUE
3076 | OR | Lane | Conventional Hydroelectric | HY | 13 | 13 | N | Electric Utility | WAT | hydro | TRUE
3076 | OR | Lane | Conventional Hydroelectric | HY | 13 | 13 | N | Electric Utility | WAT | hydro | TRUE
3077 | OR | Marion | Conventional Hydroelectric | HY | 50 | 50 | N | Electric Utility | WAT | hydro | TRUE
3077 | OR | Marion | Conventional Hydroelectric | HY | 50 | 50 | N | Electric Utility | WAT | hydro | TRUE
3078 | OR | Lane | Conventional Hydroelectric | HY | 15 | 17 | N | Electric Utility | WAT | hydro | TRUE
3080 | OR | Linn | Conventional Hydroelectric | HY | 40 | 40 | N | Electric Utility | WAT | hydro | TRUE
3080 | OR | Linn | Conventional Hydroelectric | HY | 40 | 40 | N | Electric Utility | WAT | hydro | TRUE
3081 | OR | Lane | Conventional Hydroelectric | HY | 15 | 15 | N | Electric Utility | WAT | hydro | TRUE
3081 | OR | Lane | Conventional Hydroelectric | HY | 15 | 15 | N | Electric Utility | WAT | hydro | TRUE
3082 | OR | Sherman | Conventional Hydroelectric | HY | 135 | 135 | N | Electric Utility | WAT | hydro | TRUE
3082 | OR | Sherman | Conventional Hydroelectric | HY | 135 | 135 | N | Electric Utility | WAT | hydro | TRUE
3082 | OR | Sherman | Conventional Hydroelectric | HY | 135 | 118 | N | Electric Utility | WAT | hydro | TRUE
3082 | OR | Sherman | Conventional Hydroelectric | HY | 135 | 118 | N | Electric Utility | WAT | hydro | TRUE
3082 | OR | Sherman | Conventional Hydroelectric | HY | 135 | 135 | N | Electric Utility | WAT | hydro | TRUE
3082 | OR | Sherman | Conventional Hydroelectric | HY | 135 | 135 | N | Electric Utility | WAT | hydro | TRUE
3082 | OR | Sherman | Conventional Hydroelectric | HY | 135 | 135 | N | Electric Utility | WAT | hydro | TRUE
3082 | OR | Sherman | Conventional Hydroelectric | HY | 135 | 135 | N | Electric Utility | WAT | hydro | TRUE
3082 | OR | Sherman | Conventional Hydroelectric | HY | 135 | 135 | N | Electric Utility | WAT | hydro | TRUE
3082 | OR | Sherman | Conventional Hydroelectric | HY | 135 | 135 | N | Electric Utility | WAT | hydro | TRUE
3082 | OR | Sherman | Conventional Hydroelectric | HY | 135 | 118 | N | Electric Utility | WAT | hydro | TRUE
3082 | OR | Sherman | Conventional Hydroelectric | HY | 135 | 118 | N | Electric Utility | WAT | hydro | TRUE
3082 | OR | Sherman | Conventional Hydroelectric | HY | 135 | 135 | N | Electric Utility | WAT | hydro | TRUE
3082 | OR | Sherman | Conventional Hydroelectric | HY | 135 | 135 | N | Electric Utility | WAT | hydro | TRUE
3082 | OR | Sherman | Conventional Hydroelectric | HY | 135 | 118 | N | Electric Utility | WAT | hydro | TRUE
3082 | OR | Sherman | Conventional Hydroelectric | HY | 135 | 118 | N | Electric Utility | WAT | hydro | TRUE
3083 | OR | Lane | Conventional Hydroelectric | HY | 40 | 40 | N | Electric Utility | WAT | hydro | TRUE
3083 | OR | Lane | Conventional Hydroelectric | HY | 40 | 40 | N | Electric Utility | WAT | hydro | TRUE
3083 | OR | Lane | Conventional Hydroelectric | HY | 40 | 40 | N | Electric Utility | WAT | hydro | TRUE
3084 | OR | Umatilla | Conventional Hydroelectric | HY | 70 | 70 | N | Electric Utility | WAT | hydro | TRUE
3084 | OR | Umatilla | Conventional Hydroelectric | HY | 70 | 70 | N | Electric Utility | WAT | hydro | TRUE
3084 | OR | Umatilla | Conventional Hydroelectric | HY | 70 | 70 | N | Electric Utility | WAT | hydro | TRUE
3084 | OR | Umatilla | Conventional Hydroelectric | HY | 70 | 70 | N | Electric Utility | WAT | hydro | TRUE
3084 | OR | Umatilla | Conventional Hydroelectric | HY | 70 | 70 | N | Electric Utility | WAT | hydro | TRUE
3084 | OR | Umatilla | Conventional Hydroelectric | HY | 80.5 | 80.5 | N | Electric Utility | WAT | hydro | TRUE
3084 | OR | Umatilla | Conventional Hydroelectric | HY | 70 | 70 | N | Electric Utility | WAT | hydro | TRUE
3084 | OR | Umatilla | Conventional Hydroelectric | HY | 70 | 70 | N | Electric Utility | WAT | hydro | TRUE
3084 | OR | Umatilla | Conventional Hydroelectric | HY | 70 | 70 | N | Electric Utility | WAT | hydro | TRUE
3084 | OR | Umatilla | Conventional Hydroelectric | HY | 70 | 70 | N | Electric Utility | WAT | hydro | TRUE
3084 | OR | Umatilla | Conventional Hydroelectric | HY | 70 | 48 | N | Electric Utility | WAT | hydro | TRUE
3084 | OR | Umatilla | Conventional Hydroelectric | HY | 70 | 70 | N | Electric Utility | WAT | hydro | TRUE
3084 | OR | Umatilla | Conventional Hydroelectric | HY | 70 | 70 | N | Electric Utility | WAT | hydro | TRUE
3084 | OR | Umatilla | Conventional Hydroelectric | HY | 70 | 70 | N | Electric Utility | WAT | hydro | TRUE
3895 | OR | Wasco | Conventional Hydroelectric | HY | 78 | 78 | N | Electric Utility | WAT | hydro | TRUE
3895 | OR | Wasco | Conventional Hydroelectric | HY | 78 | 78 | N | Electric Utility | WAT | hydro | TRUE
3895 | OR | Wasco | Conventional Hydroelectric | HY | 78 | 78 | N | Electric Utility | WAT | hydro | TRUE
3895 | OR | Wasco | Conventional Hydroelectric | HY | 78 | 78 | N | Electric Utility | WAT | hydro | TRUE
3895 | OR | Wasco | Conventional Hydroelectric | HY | 78 | 78 | N | Electric Utility | WAT | hydro | TRUE
3895 | OR | Wasco | Conventional Hydroelectric | HY | 78 | 78 | N | Electric Utility | WAT | hydro | TRUE
3895 | OR | Wasco | Conventional Hydroelectric | HY | 86 | 86 | N | Electric Utility | WAT | hydro | TRUE
3895 | OR | Wasco | Conventional Hydroelectric | HY | 86 | 86 | N | Electric Utility | WAT | hydro | TRUE
3895 | OR | Wasco | Conventional Hydroelectric | HY | 86 | 86 | N | Electric Utility | WAT | hydro | TRUE
3895 | OR | Wasco | Conventional Hydroelectric | HY | 86 | 86 | N | Electric Utility | WAT | hydro | TRUE
3895 | OR | Wasco | Conventional Hydroelectric | HY | 86 | 86 | N | Electric Utility | WAT | hydro | TRUE
3895 | OR | Wasco | Conventional Hydroelectric | HY | 78 | 78 | N | Electric Utility | WAT | hydro | TRUE
3895 | OR | Wasco | Conventional Hydroelectric | HY | 86 | 86 | N | Electric Utility | WAT | hydro | TRUE
3895 | OR | Wasco | Conventional Hydroelectric | HY | 86 | 86 | N | Electric Utility | WAT | hydro | TRUE
3895 | OR | Wasco | Conventional Hydroelectric | HY | 86 | 86 | N | Electric Utility | WAT | hydro | TRUE
3895 | OR | Wasco | Conventional Hydroelectric | HY | 78 | 78 | N | Electric Utility | WAT | hydro | TRUE
3895 | OR | Wasco | Conventional Hydroelectric | HY | 78 | 78 | N | Electric Utility | WAT | hydro | TRUE
3895 | OR | Wasco | Conventional Hydroelectric | HY | 89.7 | 92.7 | N | Electric Utility | WAT | hydro | TRUE
3895 | OR | Wasco | Conventional Hydroelectric | HY | 78 | 78 | N | Electric Utility | WAT | hydro | TRUE
3895 | OR | Wasco | Conventional Hydroelectric | HY | 78 | 78 | N | Electric Utility | WAT | hydro | TRUE
3895 | OR | Wasco | Conventional Hydroelectric | HY | 78 | 78 | N | Electric Utility | WAT | hydro | TRUE
3895 | OR | Wasco | Conventional Hydroelectric | HY | 78 | 78 | N | Electric Utility | WAT | hydro | TRUE
3895 | OR | Wasco | Conventional Hydroelectric | HY | 14 | 14 | N | Electric Utility | WAT | hydro | TRUE
3895 | OR | Wasco | Conventional Hydroelectric | HY | 14 | 14 | N | Electric Utility | WAT | hydro | TRUE
4213 | OR | Multnomah | Conventional Hydroelectric | HY | 23.7 | 24 | N | Electric Utility | WAT | hydro | TRUE
4214 | OR | Clackamas | Conventional Hydroelectric | HY | 11.8 | 13.5 | N | Electric Utility | WAT | hydro | TRUE
6106 | OR | Morrow | Conventional Steam Coal | ST | 642.2 | 585 | N | Electric Utility | SUB | hard coal | TRUE
6174 | OR | Jackson | Conventional Hydroelectric | HY | 24.5 | 24.5 | N | Electric Utility | WAT | hydro | TRUE
6174 | OR | Jackson | Conventional Hydroelectric | HY | 24.5 | 24.5 | N | Electric Utility | WAT | hydro | TRUE
6403 | OR | Jackson | Conventional Hydroelectric | HY | 17.2 | 17.2 | N | Electric Utility | WAT | hydro | TRUE
6421 | OR | Douglas | Conventional Hydroelectric | HY | 38.5 | 38.5 | N | Electric Utility | WAT | hydro | TRUE
6484 | OR | Deschutes | Conventional Hydroelectric | HY | 0.2 | 0.2 | N | Electric Utility | WAT | hydro | TRUE
6484 | OR | Deschutes | Conventional Hydroelectric | HY | 0.3 | 0.3 | N | Electric Utility | WAT | hydro | TRUE
6484 | OR | Deschutes | Conventional Hydroelectric | HY | 0.6 | 0.5 | N | Electric Utility | WAT | hydro | TRUE
6505 | OR | Clackamas | Conventional Hydroelectric | HY | 25.5 | 22 | N | Electric Utility | WAT | hydro | TRUE
6505 | OR | Clackamas | Conventional Hydroelectric | HY | 25.5 | 22 | N | Electric Utility | WAT | hydro | TRUE
6552 | OR | Linn | Conventional Hydroelectric | HY | 10 | 10 | N | Electric Utility | WAT | hydro | TRUE
6552 | OR | Linn | Conventional Hydroelectric | HY | 10 | 10 | N | Electric Utility | WAT | hydro | TRUE
7350 | OR | Morrow | Natural Gas Fired Combined Cycle | CT | 185.7 | 171 | Y | Electric Utility | NG | natural gas nonpeaker | TRUE
7350 | OR | Morrow | Natural Gas Fired Combined Cycle | CA | 80.6 | 72 | Y | Electric Utility | NG | natural gas nonpeaker | TRUE
7413 | OR | Lane | Landfill Gas | IC | 0.8 | 0.8 | N | Electric Utility | LFG | biomass | TRUE
7413 | OR | Lane | Landfill Gas | IC | 0.8 | 0.8 | N | Electric Utility | LFG | biomass | TRUE
7413 | OR | Lane | Landfill Gas | IC | 0.8 | 0.8 | N | Electric Utility | LFG | biomass | TRUE
7413 | OR | Lane | Landfill Gas | IC | 0.8 | 0.8 | N | Electric Utility | LFG | biomass | TRUE
7431 | OR | Wasco | Conventional Hydroelectric | HY | 6.5 | 5 | N | Electric Utility | WAT | hydro | TRUE
7508 | OR | Clackamas | Conventional Hydroelectric | HY | 12 | 7 | N | Electric Utility | WAT | hydro | TRUE
7725 | OR | Benton | Landfill Gas | IC | 0.8 | 0.8 | N | Electric Utility | LFG | biomass | TRUE
7725 | OR | Benton | Landfill Gas | IC | 0.8 | 0.8 | N | Electric Utility | LFG | biomass | TRUE
7725 | OR | Benton | Landfill Gas | IC | 0.8 | 0.8 | N | Electric Utility | LFG | biomass | TRUE
7725 | OR | Benton | Landfill Gas | IC | 1.6 | 1.5 | N | Electric Utility | LFG | biomass | TRUE
7725 | OR | Benton | Landfill Gas | IC | 1.6 | 1.5 | N | Electric Utility | LFG | biomass | TRUE
7931 | OR | Morrow | Natural Gas Fired Combined Cycle | CT | 170 | 173 | N | Electric Utility | NG | natural gas nonpeaker | TRUE
7931 | OR | Morrow | Natural Gas Fired Combined Cycle | CA | 117 | 117 | N | Electric Utility | NG | natural gas nonpeaker | TRUE
8073 | OR | Columbia | Natural Gas Fired Combined Cycle | CT | 68.3 | 54 | N | Electric Utility | NG | natural gas nonpeaker | TRUE
8073 | OR | Columbia | Natural Gas Fired Combined Cycle | CT | 68.3 | 54 | N | Electric Utility | NG | natural gas nonpeaker | TRUE
8073 | OR | Columbia | Natural Gas Fired Combined Cycle | CT | 68.3 | 54 | N | Electric Utility | NG | natural gas nonpeaker | TRUE
8073 | OR | Columbia | Natural Gas Fired Combined Cycle | CT | 68.3 | 54 | N | Electric Utility | NG | natural gas nonpeaker | TRUE
8073 | OR | Columbia | Natural Gas Fired Combined Cycle | CT | 68.3 | 54 | N | Electric Utility | NG | natural gas nonpeaker | TRUE
8073 | OR | Columbia | Natural Gas Fired Combined Cycle | CT | 68.3 | 54 | N | Electric Utility | NG | natural gas nonpeaker | TRUE
8073 | OR | Columbia | Natural Gas Fired Combined Cycle | CA | 176.4 | 137 | N | Electric Utility | NG | natural gas nonpeaker | TRUE
8073 | OR | Columbia | Natural Gas Fired Combustion Turbine | GT | 24.5 | 24 | N | Electric Utility | NG | natural gas peaker | TRUE
10323 | OR | Hood River | Conventional Hydroelectric | HY | 2.6 | 1 | N | IPP Non-CHP | WAT | hydro | TRUE
10324 | OR | Hood River | Conventional Hydroelectric | HY | 1.8 | 0.3 | N | IPP Non-CHP | WAT | hydro | TRUE
10737 | OR | Klamath | Conventional Hydroelectric | HY | 1.2 | 1 | N | IPP Non-CHP | WAT | hydro | TRUE
10869 | OR | Jackson | Wood/Wood Waste Biomass | ST | 10 | 8.5 | N | IPP Non-CHP | WDS | biomass | TRUE
10869 | OR | Jackson | Wood/Wood Waste Biomass | ST | 15 | 14 | N | IPP Non-CHP | WDS | biomass | TRUE
10869 | OR | Jackson | Wood/Wood Waste Biomass | ST | 15 | 14 | N | IPP Non-CHP | WDS | biomass | TRUE
50105 | OR | Multnomah | Conventional Hydroelectric | HY | 0.9 | 0.9 | N | IPP Non-CHP | WAT | hydro | TRUE
50105 | OR | Multnomah | Conventional Hydroelectric | HY | 0.9 | 0.9 | N | IPP Non-CHP | WAT | hydro | TRUE
50105 | OR | Multnomah | Conventional Hydroelectric | HY | 0.9 | 0.9 | N | IPP Non-CHP | WAT | hydro | TRUE
50105 | OR | Multnomah | Conventional Hydroelectric | HY | 0.9 | 0.9 | N | IPP Non-CHP | WAT | hydro | TRUE
50105 | OR | Multnomah | Conventional Hydroelectric | HY | 0.9 | 0.9 | N | IPP Non-CHP | WAT | hydro | TRUE
50105 | OR | Multnomah | Conventional Hydroelectric | HY | 0.9 | 0.9 | N | IPP Non-CHP | WAT | hydro | TRUE
50191 | OR | Lane | Wood/Wood Waste Biomass | ST | 7.5 | 7.5 | N | Industrial CHP | BLQ | biomass | FALSE
50191 | OR | Lane | Wood/Wood Waste Biomass | ST | 5 | 5 | N | Industrial CHP | BLQ | biomass | FALSE
50191 | OR | Lane | Wood/Wood Waste Biomass | ST | 12.5 | 12.5 | Y | Industrial CHP | BLQ | biomass | FALSE
50191 | OR | Lane | Wood/Wood Waste Biomass | ST | 40 | 33 | Y | Industrial CHP | BLQ | biomass | FALSE
50360 | OR | Malheur | Conventional Hydroelectric | HY | 1.8 | 1.8 | N | IPP Non-CHP | WAT | hydro | TRUE
50361 | OR | Malheur | Conventional Hydroelectric | HY | 4.3 | 2.9 | N | IPP Non-CHP | WAT | hydro | TRUE
50362 | OR | Malheur | Conventional Hydroelectric | HY | 7 | 6.7 | N | IPP Non-CHP | WAT | hydro | TRUE
50396 | OR | Douglas | Wood/Wood Waste Biomass | ST | 5 | 5 | Y | Industrial CHP | WDS | biomass | FALSE
50396 | OR | Douglas | Wood/Wood Waste Biomass | ST | 5 | 5 | Y | Industrial CHP | WDS | biomass | FALSE
50396 | OR | Douglas | Wood/Wood Waste Biomass | ST | 7 | 7 | Y | Industrial CHP | WDS | biomass | FALSE
50396 | OR | Douglas | Wood/Wood Waste Biomass | ST | 11.5 | 11.5 | Y | Industrial CHP | WDS | biomass | FALSE
50396 | OR | Douglas | Wood/Wood Waste Biomass | ST | 11.5 | 11.5 | Y | Industrial CHP | WDS | biomass | FALSE
50396 | OR | Douglas | Wood/Wood Waste Biomass | ST | 11.5 | 11.5 | Y | Industrial CHP | WDS | biomass | FALSE
50630 | OR | MARION | Municipal Solid Waste | ST | 13.1 | 11.5 | N | IPP Non-CHP | MSW | municipal solid waste | TRUE
50917 | OR | Hood River | Conventional Hydroelectric | HY | 2 | 2 | N | IPP Non-CHP | WAT | hydro | TRUE
50917 | OR | Hood River | Conventional Hydroelectric | HY | 0.5 | 0.5 | N | IPP Non-CHP | WAT | hydro | TRUE
50917 | OR | Hood River | Conventional Hydroelectric | HY | 0.8 | 0.8 | N | IPP Non-CHP | WAT | hydro | TRUE
50921 | OR | Grant | Wood/Wood Waste Biomass | ST | 7.5 | 7.5 | Y | IPP CHP | WDS | biomass | TRUE
50938 | OR | Douglas | Conventional Hydroelectric | HY | 0.8 | 0.8 | N | IPP Non-CHP | WAT | hydro | TRUE
50938 | OR | Douglas | Conventional Hydroelectric | HY | 0.8 | 0.8 | N | IPP Non-CHP | WAT | hydro | TRUE
50980 | OR | Deschutes | Conventional Hydroelectric | HY | 2.7 | 2.7 | N | IPP Non-CHP | WAT | hydro | TRUE
50980 | OR | Deschutes | Conventional Hydroelectric | HY | 2.7 | 2.7 | N | IPP Non-CHP | WAT | hydro | TRUE
50993 | OR | Douglas | Wood/Wood Waste Biomass | ST | 7.5 | 7.8 | Y | IPP CHP | WDS | biomass | TRUE
52155 | OR | Linn | Conventional Hydroelectric | HY | 1 | 1 | N | IPP Non-CHP | WAT | hydro | TRUE
52187 | OR | Linn | Conventional Hydroelectric | HY | 4.1 | 3.9 | N | IPP Non-CHP | WAT | hydro | TRUE
54251 | OR | Jefferson | Conventional Hydroelectric | HY | 4.3 | 3.3 | N | IPP Non-CHP | WAT | hydro | TRUE
54721 | OR | Jefferson | Conventional Hydroelectric | HY | 19.6 | 18.5 | N | IPP Non-CHP | WAT | hydro | TRUE
54761 | OR | Umatilla | Natural Gas Fired Combined Cycle | CA | 106.1 | 80 | Y | IPP CHP | NG | natural gas nonpeaker | TRUE
54761 | OR | Umatilla | Natural Gas Fired Combined Cycle | CT | 204.5 | 152 | Y | IPP CHP | NG | natural gas nonpeaker | TRUE
54761 | OR | Umatilla | Natural Gas Fired Combined Cycle | CA | 106.1 | 80 | Y | IPP CHP | NG | natural gas nonpeaker | TRUE
54761 | OR | Umatilla | Natural Gas Fired Combined Cycle | CT | 204.5 | 152 | Y | IPP CHP | NG | natural gas nonpeaker | TRUE
54950 | OR | Lane | Natural Gas Fired Combined Cycle | CT | 7.5 | 7.5 | Y | Commercial CHP | NG | natural gas nonpeaker | FALSE
54950 | OR | Lane | Natural Gas Fired Combined Cycle | CA | 3.5 | 1.5 | Y | Commercial CHP | NG | natural gas nonpeaker | FALSE
55103 | OR | Klamath | Natural Gas Fired Combined Cycle | CT | 161.5 | 155 | Y | IPP CHP | NG | natural gas nonpeaker | TRUE
55103 | OR | Klamath | Natural Gas Fired Combined Cycle | CT | 161.5 | 155 | Y | IPP CHP | NG | natural gas nonpeaker | TRUE
55103 | OR | Klamath | Natural Gas Fired Combined Cycle | CA | 178.5 | 180 | Y | IPP CHP | NG | natural gas nonpeaker | TRUE
55125 | OR | Umatilla | Onshore Wind Turbine | WT | 25 | 25 | N | IPP Non-CHP | WND | onshore wind | TRUE
55328 | OR | Umatilla | Natural Gas Fired Combined Cycle | CT | 212.5 | 184 | N | IPP Non-CHP | NG | natural gas nonpeaker | TRUE
55328 | OR | Umatilla | Natural Gas Fired Combined Cycle | CT | 212.5 | 184 | N | IPP Non-CHP | NG | natural gas nonpeaker | TRUE
55328 | OR | Umatilla | Natural Gas Fired Combined Cycle | CA | 264.4 | 247 | N | IPP Non-CHP | NG | natural gas nonpeaker | TRUE
55544 | OR | Klamath | Natural Gas Fired Combustion Turbine | GT | 29.4 | 25 | N | IPP Non-CHP | NG | natural gas peaker | TRUE
55544 | OR | Klamath | Natural Gas Fired Combustion Turbine | GT | 29.4 | 25 | N | IPP Non-CHP | NG | natural gas peaker | TRUE
55544 | OR | Klamath | Natural Gas Fired Combustion Turbine | GT | 29.4 | 25 | N | IPP Non-CHP | NG | natural gas peaker | TRUE
55544 | OR | Klamath | Natural Gas Fired Combustion Turbine | GT | 29.4 | 25 | N | IPP Non-CHP | NG | natural gas peaker | TRUE
55739 | OR | Gilliam | Onshore Wind Turbine | WT | 24.6 | 24.6 | N | IPP Non-CHP | WND | onshore wind | TRUE
55739 | OR | Gilliam | Onshore Wind Turbine | WT | 25.2 | 25.2 | N | IPP Non-CHP | WND | onshore wind | TRUE
55871 | OR | Sherman | Onshore Wind Turbine | WT | 24.5 | 24 | N | IPP Non-CHP | WND | onshore wind | TRUE
55989 | OR | Umatilla | Onshore Wind Turbine | WT | 122.8 | 122.8 | N | IPP Non-CHP | WND | onshore wind | TRUE
56192 | OR | Clatsop | Wood/Wood Waste Biomass | ST | 36 | 22 | Y | Industrial CHP | BLQ | biomass | FALSE
56193 | OR | Jackson | Wood/Wood Waste Biomass | ST | 3.5 | 3.1 | Y | Industrial CHP | WDS | biomass | FALSE
56193 | OR | Jackson | Wood/Wood Waste Biomass | ST | 5 | 4.4 | Y | Industrial CHP | WDS | biomass | FALSE
56195 | OR | Umatilla | Onshore Wind Turbine | WT | 41 | 41 | N | IPP Non-CHP | WND | onshore wind | TRUE
56223 | OR | Clatsop | Natural Gas Fired Combustion Turbine | GT | 10.9 | 9.8 | N | Electric Utility | NG | natural gas peaker | TRUE
56227 | OR | Columbia | Natural Gas Fired Combined Cycle | CT | 312 | 256.2 | N | Electric Utility | NG | natural gas nonpeaker | TRUE
56227 | OR | Columbia | Natural Gas Fired Combined Cycle | CA | 171 | 136 | N | Electric Utility | NG | natural gas nonpeaker | TRUE
56359 | OR | Sherman | Onshore Wind Turbine | WT | 75 | 75 | N | IPP Non-CHP | WND | onshore wind | TRUE
56360 | OR | Gilliam | Onshore Wind Turbine | WT | 100.5 | 100.5 | N | Electric Utility | WND | onshore wind | TRUE
56461 | OR | Jackson | Landfill Gas | IC | 1.6 | 1.5 | N | Commercial Non-CHP | LFG | biomass | FALSE
56461 | OR | Jackson | Landfill Gas | IC | 1.6 | 1.5 | N | Commercial Non-CHP | LFG | biomass | FALSE
56468 | OR | Sherman | Onshore Wind Turbine | WT | 221 | 221 | N | IPP Non-CHP | WND | onshore wind | TRUE
56468 | OR | Sherman | Onshore Wind Turbine | WT | 76.5 | 76.5 | N | IPP Non-CHP | WND | onshore wind | TRUE
56485 | OR | Sherman | Onshore Wind Turbine | WT | 125.4 | 125.4 | N | Electric Utility | WND | onshore wind | TRUE
56485 | OR | Sherman | Onshore Wind Turbine | WT | 163.3 | 163.3 | N | Electric Utility | WND | onshore wind | TRUE
56485 | OR | Sherman | Onshore Wind Turbine | WT | 161 | 161 | N | Electric Utility | WND | onshore wind | TRUE
56623 | OR | Union | Onshore Wind Turbine | WT | 100.7 | 100.7 | N | IPP Non-CHP | WND | onshore wind | TRUE
56781 | OR | Linn | Wood/Wood Waste Biomass | ST | 21 | 10 | Y | Industrial CHP | WDS | biomass | FALSE
56789 | OR | Gilliam | Onshore Wind Turbine | WT | 98.7 | 98.7 | N | IPP Non-CHP | WND | onshore wind | TRUE
56790 | OR | Sherman | Onshore Wind Turbine | WT | 100.8 | 100.8 | N | IPP Non-CHP | WND | onshore wind | TRUE
56854 | OR | Gilliam | Onshore Wind Turbine | WT | 97 | 96.6 | N | IPP Non-CHP | WND | onshore wind | TRUE
56855 | OR | Gilliam | Onshore Wind Turbine | WT | 103 | 102.9 | N | IPP Non-CHP | WND | onshore wind | TRUE
56933 | OR | Morrow | Onshore Wind Turbine | WT | 9.9 | 9.9 | N | IPP Non-CHP | WND | onshore wind | TRUE
56952 | OR | Morrow | Onshore Wind Turbine | WT | 72 | 72 | N | IPP Non-CHP | WND | onshore wind | TRUE
56967 | OR | Umatilla | Onshore Wind Turbine | WT | 5 | 5 | N | IPP Non-CHP | WND | onshore wind | TRUE
56968 | OR | Morrow | Onshore Wind Turbine | WT | 1.7 | 1.7 | N | IPP Non-CHP | WND | onshore wind | TRUE
56969 | OR | Umatilla | Onshore Wind Turbine | WT | 10 | 10 | N | IPP Non-CHP | WND | onshore wind | TRUE
56970 | OR | Morrow | Onshore Wind Turbine | WT | 10 | 10 | N | IPP Non-CHP | WND | onshore wind | TRUE
56971 | OR | Umatilla | Onshore Wind Turbine | WT | 9.9 | 9.9 | N | IPP Non-CHP | WND | onshore wind | TRUE
56972 | OR | Morrow | Onshore Wind Turbine | WT | 8.3 | 8.3 | N | IPP Non-CHP | WND | onshore wind | TRUE
56973 | OR | Morrow | Onshore Wind Turbine | WT | 9.9 | 9.9 | N | IPP Non-CHP | WND | onshore wind | TRUE
56974 | OR | Morrow | Onshore Wind Turbine | WT | 3.3 | 3.3 | N | IPP Non-CHP | WND | onshore wind | TRUE
56975 | OR | Umatilla | Onshore Wind Turbine | WT | 6.6 | 6.6 | N | IPP Non-CHP | WND | onshore wind | TRUE
57015 | OR | Gilliam | Landfill Gas | IC | 0.8 | 0.8 | N | IPP Non-CHP | LFG | biomass | TRUE
57015 | OR | Gilliam | Landfill Gas | IC | 1.6 | 1.6 | N | IPP Non-CHP | LFG | biomass | TRUE
57015 | OR | Gilliam | Landfill Gas | IC | 1.6 | 1.6 | N | IPP Non-CHP | LFG | biomass | TRUE
57015 | OR | Gilliam | Landfill Gas | IC | 1.6 | 1.6 | N | IPP Non-CHP | LFG | biomass | TRUE
57015 | OR | Gilliam | Landfill Gas | IC | 0.8 | 0.8 | N | IPP Non-CHP | LFG | biomass | TRUE
57015 | OR | Gilliam | Landfill Gas | IC | 0.8 | 0.8 | N | IPP Non-CHP | LFG | biomass | TRUE
57015 | OR | Gilliam | Landfill Gas | IC | 0.8 | 0.8 | N | IPP Non-CHP | LFG | biomass | TRUE
57015 | OR | Gilliam | Landfill Gas | IC | 0.8 | 0.8 | N | IPP Non-CHP | LFG | biomass | TRUE
57015 | OR | Gilliam | Landfill Gas | IC | 0.8 | 0.8 | N | IPP Non-CHP | LFG | biomass | TRUE
57015 | OR | Gilliam | Landfill Gas | IC | 0.8 | 0.8 | N | IPP Non-CHP | LFG | biomass | TRUE
57015 | OR | Gilliam | Landfill Gas | IC | 0.8 | 0.8 | N | IPP Non-CHP | LFG | biomass | TRUE
57015 | OR | Gilliam | Landfill Gas | IC | 1.6 | 1.6 | N | IPP Non-CHP | LFG | biomass | TRUE
57019 | OR | Yamhill | Landfill Gas | IC | 0.8 | 0.8 | N | IPP Non-CHP | LFG | biomass | TRUE
57019 | OR | Yamhill | Landfill Gas | IC | 0.8 | 0.8 | N | IPP Non-CHP | LFG | biomass | TRUE
57019 | OR | Yamhill | Landfill Gas | IC | 0.8 | 0.8 | N | IPP Non-CHP | LFG | biomass | TRUE
57019 | OR | Yamhill | Landfill Gas | IC | 0.8 | 0.8 | N | IPP Non-CHP | LFG | biomass | TRUE
57019 | OR | Yamhill | Landfill Gas | IC | 0.8 | 0.8 | N | IPP Non-CHP | LFG | biomass | TRUE
57019 | OR | Yamhill | Landfill Gas | IC | 0.8 | 0.8 | N | IPP Non-CHP | LFG | biomass | TRUE
57096 | OR | Sherman | Onshore Wind Turbine | WT | 98.7 | 98.7 | N | IPP Non-CHP | WND | onshore wind | TRUE
57137 | OR | Umatilla | Onshore Wind Turbine | WT | 63 | 63 | N | IPP Non-CHP | WND | onshore wind | TRUE
57333 | OR | Gilliam | Onshore Wind Turbine | WT | 201 | 201 | N | IPP Non-CHP | WND | onshore wind | TRUE
57372 | OR | Yamhill | Solar Photovoltaic | PV | 1.6 | 1.6 | N | IPP Non-CHP | SUN | solar PV | TRUE
57437 | OR | Deschutes | Conventional Hydroelectric | HY | 5 | 3.3 | N | IPP Non-CHP | WAT | hydro | TRUE
57457 | OR | Lane | Wood/Wood Waste Biomass | ST | 19.8 | 19.8 | N | Industrial Non-CHP | WDS | biomass | FALSE
57526 | OR | Gilliam | Onshore Wind Turbine | WT | 265 | 265 | N | IPP Non-CHP | WND | onshore wind | TRUE
57549 | OR | Gilliam | Onshore Wind Turbine | WT | 290 | 290 | N | IPP Non-CHP | WND | onshore wind | TRUE
57550 | OR | Gilliam | Onshore Wind Turbine | WT | 290 | 290 | N | IPP Non-CHP | WND | onshore wind | TRUE
57578 | OR | Sherman | Onshore Wind Turbine | WT | 9 | 9 | N | IPP Non-CHP | WND | onshore wind | TRUE
57652 | OR | Yamhill | Solar Photovoltaic | PV | 1 | 1 | N | IPP Non-CHP | SUN | solar PV | TRUE
57653 | OR | Benton | Natural Gas Fired Combined Cycle | CT | 5.5 | 5.2 | Y | Commercial CHP | NG | natural gas nonpeaker | FALSE
57653 | OR | Benton | Natural Gas Fired Combined Cycle | CA | 1 | 0.5 | Y | Commercial CHP | NG | natural gas nonpeaker | FALSE
57803 | OR | Baker | Onshore Wind Turbine | WT | 3 | 3 | N | IPP Non-CHP | WND | onshore wind | TRUE
57882 | OR | Clackamas | Solar Photovoltaic | PV | 1.7 | 1.7 | N | Electric Utility | SUN | solar PV | TRUE
57911 | OR | Douglas | Landfill Gas | IC | 1.6 | 1.6 | N | IPP Non-CHP | LFG | biomass | TRUE
58022 | OR | Malheur | Geothermal | BT | 11 | 5.9 | N | IPP Non-CHP | GEO | geothermal | TRUE
58022 | OR | Malheur | Geothermal | BT | 11 | 5.9 | N | IPP Non-CHP | GEO | geothermal | TRUE
58022 | OR | Malheur | Geothermal | BT | 11 | 5.9 | N | IPP Non-CHP | GEO | geothermal | TRUE
58109 | OR | Lincoln | Wood/Wood Waste Biomass | ST | 18.5 | 18.4 | Y | Industrial CHP | BLQ | biomass | FALSE
58109 | OR | Lincoln | Wood/Wood Waste Biomass | ST | 18.8 | 13.4 | Y | Industrial CHP | BLQ | biomass | FALSE
58131 | OR | Lake | Solar Photovoltaic | PV | 4.4 | 4.4 | N | IPP Non-CHP | SUN | solar PV | TRUE
58150 | OR | Lake | Solar Photovoltaic | PV | 2 | 2 | N | Electric Utility | SUN | solar PV | TRUE
58266 | OR | Columbia | Natural Gas Internal Combustion Engine | IC | 18.8 | 18.7 | N | Electric Utility | NG | natural gas peaker | TRUE
58266 | OR | Columbia | Natural Gas Internal Combustion Engine | IC | 18.8 | 18.7 | N | Electric Utility | NG | natural gas peaker | TRUE
58266 | OR | Columbia | Natural Gas Internal Combustion Engine | IC | 18.8 | 18.7 | N | Electric Utility | NG | natural gas peaker | TRUE
58266 | OR | Columbia | Natural Gas Internal Combustion Engine | IC | 18.8 | 18.7 | N | Electric Utility | NG | natural gas peaker | TRUE
58266 | OR | Columbia | Natural Gas Internal Combustion Engine | IC | 18.8 | 18.7 | N | Electric Utility | NG | natural gas peaker | TRUE
58266 | OR | Columbia | Natural Gas Internal Combustion Engine | IC | 18.8 | 18.7 | N | Electric Utility | NG | natural gas peaker | TRUE
58266 | OR | Columbia | Natural Gas Internal Combustion Engine | IC | 18.8 | 18.7 | N | Electric Utility | NG | natural gas peaker | TRUE
58266 | OR | Columbia | Natural Gas Internal Combustion Engine | IC | 18.8 | 18.7 | N | Electric Utility | NG | natural gas peaker | TRUE
58266 | OR | Columbia | Natural Gas Internal Combustion Engine | IC | 18.8 | 18.7 | N | Electric Utility | NG | natural gas peaker | TRUE
58266 | OR | Columbia | Natural Gas Internal Combustion Engine | IC | 18.8 | 18.7 | N | Electric Utility | NG | natural gas peaker | TRUE
58266 | OR | Columbia | Natural Gas Internal Combustion Engine | IC | 18.8 | 18.7 | N | Electric Utility | NG | natural gas peaker | TRUE
58266 | OR | Columbia | Natural Gas Internal Combustion Engine | IC | 18.8 | 18.7 | N | Electric Utility | NG | natural gas peaker | TRUE
58324 | OR | Umatilla | Onshore Wind Turbine | WT | 98.9 | 98.9 | N | IPP Non-CHP | WND | onshore wind | TRUE
58382 | OR | Morrow | Other Waste Biomass | IC | 1.6 | 1.6 | Y | IPP CHP | OBG | biomass | TRUE
58382 | OR | Morrow | Other Waste Biomass | IC | 1.6 | 1.6 | Y | IPP CHP | OBG | biomass | TRUE
58382 | OR | Morrow | Other Waste Biomass | IC | 1.6 | 1.6 | Y | IPP CHP | OBG | biomass | TRUE
58455 | OR | Jefferson | Conventional Hydroelectric | HY | 1 | 1 | N | IPP Non-CHP | WAT | hydro | TRUE
58455 | OR | Jefferson | Conventional Hydroelectric | HY | 1 | 1 | N | IPP Non-CHP | WAT | hydro | TRUE
58455 | OR | Jefferson | Conventional Hydroelectric | HY | 1 | 1 | N | IPP Non-CHP | WAT | hydro | TRUE
58470 | OR | Klamath | Conventional Hydroelectric | HY | 1.1 | 1.1 | N | IPP Non-CHP | WAT | hydro | TRUE
58503 | OR | Morrow | Natural Gas Fired Combined Cycle | CT | 300 | 246.7 | N | Electric Utility | NG | natural gas nonpeaker | TRUE
58503 | OR | Morrow | Natural Gas Fired Combined Cycle | CA | 200 | 166.3 | N | Electric Utility | NG | natural gas nonpeaker | TRUE
58591 | OR | Tillamook | Other Waste Biomass | IC | 1 | 1 | N | Electric Utility | OBG | biomass | TRUE
58687 | OR | Morrow | Landfill Gas | IC | 1.6 | 1.6 | N | IPP Non-CHP | LFG | biomass | TRUE
58687 | OR | Morrow | Landfill Gas | IC | 1.6 | 1.6 | N | IPP Non-CHP | LFG | biomass | TRUE
58687 | OR | Morrow | Landfill Gas | IC | 1.6 | 1.6 | N | IPP Non-CHP | LFG | biomass | TRUE
58961 | OR | Klamath | Solar Photovoltaic | PV | 2 | 2 | N | IPP Non-CHP | SUN | solar PV | TRUE
59076 | OR | Umatilla | Onshore Wind Turbine | WT | 10 | 10 | N | IPP Non-CHP | WND | onshore wind | TRUE
59357 | OR | Lane | Conventional Hydroelectric | HY | 1.4 | 1.4 | N | IPP Non-CHP | WAT | hydro | TRUE
59357 | OR | Lane | Conventional Hydroelectric | HY | 6.1 | 6.1 | N | IPP Non-CHP | WAT | hydro | TRUE
59374 | OR | Klamath | Solar Photovoltaic | PV | 5 | 5 | N | IPP Non-CHP | SUN | solar PV | TRUE
59382 | OR | Lake | Geothermal | ST | 3.7 | 1.8 | N | Electric Utility | GEO | geothermal | TRUE
59490 | OR | Baker | Onshore Wind Turbine | WT | 10 | 10 | N | IPP Non-CHP | WND | onshore wind | TRUE
59491 | OR | Baker | Onshore Wind Turbine | WT | 10 | 10 | N | IPP Non-CHP | WND | onshore wind | TRUE
59492 | OR | Baker | Onshore Wind Turbine | WT | 10 | 10 | N | IPP Non-CHP | WND | onshore wind | TRUE
59493 | OR | Baker | Onshore Wind Turbine | WT | 10 | 10 | N | IPP Non-CHP | WND | onshore wind | TRUE
59494 | OR | Baker | Onshore Wind Turbine | WT | 10 | 10 | N | IPP Non-CHP | WND | onshore wind | TRUE
59704 | OR | Lane | Other Waste Biomass | GT | 1.6 | 1.6 | Y | IPP CHP | OBG | biomass | TRUE
59790 | OR | Benton | Solar Photovoltaic | PV | 1.2 | 1.2 | N | IPP Non-CHP | SUN | solar PV | TRUE
60057 | OR | Polk | Solar Photovoltaic | PV | 2.3 | 2.3 | N | IPP Non-CHP | SUN | solar PV | TRUE
60112 | OR | Multnomah | Solar Photovoltaic | PV | 1.4 | 1.4 | N | IPP Non-CHP | SUN | solar PV | TRUE
60263 | OR | Washington | Other Waste Biomass | IC | 0.8 | 0.7 | Y | Commercial CHP | OBG | biomass | FALSE
60263 | OR | Washington | Other Waste Biomass | IC | 0.8 | 0.8 | Y | Commercial CHP | OBG | biomass | FALSE
60330 | OR | Malheur | Solar Photovoltaic | PV | 6 | 6 | N | IPP Non-CHP | SUN | solar PV | TRUE
60331 | OR | Malheur | Solar Photovoltaic | PV | 9 | 9 | N | IPP Non-CHP | SUN | solar PV | TRUE
60332 | OR | Malheur | Solar Photovoltaic | PV | 10 | 10 | N | IPP Non-CHP | SUN | solar PV | TRUE
60333 | OR | Malheur | Solar Photovoltaic | PV | 4.5 | 4.5 | N | IPP Non-CHP | SUN | solar PV | TRUE
60334 | OR | Malheur | Solar Photovoltaic | PV | 10 | 10 | N | IPP Non-CHP | SUN | solar PV | TRUE
60335 | OR | Malheur | Solar Photovoltaic | PV | 10 | 10 | N | IPP Non-CHP | SUN | solar PV | TRUE
60441 | OR | Marion | Batteries | BA | 5 | 5 | N | Electric Utility | MWH | other | TRUE
60548 | OR | Deschutes | Solar Photovoltaic | PV | 9.9 | 9.9 | N | IPP Non-CHP | SUN | solar PV | TRUE
60616 | OR | Lake | Solar Photovoltaic | PV | 8 | 8 | N | IPP Non-CHP | SUN | solar PV | TRUE
60868 | OR | Clackamas | Conventional Hydroelectric | HY | 1.2 | 1.1 | N | Electric Utility | WAT | hydro | TRUE
60976 | OR | Deschutes | Solar Photovoltaic | PV | 9.9 | 9.9 | N | IPP Non-CHP | SUN | solar PV | TRUE
61048 | OR | Crook | Solar Photovoltaic | PV | 56.3 | 56 | N | IPP Non-CHP | SUN | solar PV | TRUE
61201 | OR | Klamath | Solar Photovoltaic | PV | 10 | 10 | N | IPP Non-CHP | SUN | solar PV | TRUE
61281 | OR | Deschutes | Solar Photovoltaic | PV | 10 | 10 | N | IPP Non-CHP | SUN | solar PV | TRUE
61338 | OR | Yamhill | Solar Photovoltaic | PV | 2.2 | 2.2 | N | IPP Non-CHP | SUN | solar PV | TRUE
61345 | OR | Sherman | Solar Photovoltaic | PV | 10 | 10 | N | IPP Non-CHP | SUN | solar PV | TRUE
61423 | OR | Klamath | Solar Photovoltaic | PV | 8 | 8 | N | IPP Non-CHP | SUN | solar PV | TRUE
61424 | OR | Klamath | Solar Photovoltaic | PV | 10 | 10 | N | IPP Non-CHP | SUN | solar PV | TRUE
61430 | OR | Lake | Solar Photovoltaic | PV | 10 | 10 | N | IPP Non-CHP | SUN | solar PV | TRUE
61496 | OR | Jefferson | Solar Photovoltaic | PV | 10 | 10 | N | IPP Non-CHP | SUN | solar PV | TRUE
61497 | OR | Jefferson | Solar Photovoltaic | PV | 10 | 10 | N | IPP Non-CHP | SUN | solar PV | TRUE
61553 | OR | Klamath | Solar Photovoltaic | PV | 2.9 | 2.9 | N | IPP Non-CHP | SUN | solar PV | TRUE
61559 | OR | Klamath | Solar Photovoltaic | PV | 8 | 8 | N | IPP Non-CHP | SUN | solar PV | TRUE
61560 | OR | Jackson | Solar Photovoltaic | PV | 9.9 | 9.9 | N | IPP Non-CHP | SUN | solar PV | TRUE
61580 | OR | Deschutes | Solar Photovoltaic | PV | 9.9 | 9.9 | N | IPP Non-CHP | SUN | solar PV | TRUE
61631 | OR | Klamath | Solar Photovoltaic | PV | 9.9 | 9.9 | N | IPP Non-CHP | SUN | solar PV | TRUE
61761 | OR | Douglas | Wood/Wood Waste Biomass | ST | 6.3 | 6.3 | Y | Industrial CHP | WDS | biomass | FALSE
61827 | OR | Yamhill | Solar Photovoltaic | PV | 2.2 | 2.2 | N | IPP Non-CHP | SUN | solar PV | TRUE
61828 | OR | Polk | Solar Photovoltaic | PV | 2.2 | 2.2 | N | IPP Non-CHP | SUN | solar PV | TRUE
61829 | OR | Marion | Solar Photovoltaic | PV | 2.2 | 2.2 | N | IPP Non-CHP | SUN | solar PV | TRUE
61830 | OR | Marion | Solar Photovoltaic | PV | 2.2 | 2.2 | N | IPP Non-CHP | SUN | solar PV | TRUE
61831 | OR | Clackamas | Solar Photovoltaic | PV | 2.2 | 2.2 | N | IPP Non-CHP | SUN | solar PV | TRUE
61832 | OR | Marion | Solar Photovoltaic | PV | 2.2 | 2.2 | N | IPP Non-CHP | SUN | solar PV | TRUE
61835 | OR | Polk | Solar Photovoltaic | PV | 2.2 | 2.2 | N | IPP Non-CHP | SUN | solar PV | TRUE
62170 | OR | Yamhill | Solar Photovoltaic | PV | 2.2 | 2.2 | N | IPP Non-CHP | SUN | solar PV | TRUE
62171 | OR | Marion | Solar Photovoltaic | PV | 2.2 | 2.2 | N | IPP Non-CHP | SUN | solar PV | TRUE
62241 | OR | Umatilla | Solar Photovoltaic | PV | 8 | 8 | N | IPP Non-CHP | SUN | solar PV | TRUE
62272 | OR | Klamath | Solar Photovoltaic | PV | 8 | 8 | N | IPP Non-CHP | SUN | solar PV | TRUE

## Cross-Page Data
Form 860 Prime Mover Codes |  | Form 860 Energy Source Codes |  |  | Cross-walk for 2-check fuels
Prime Mover Code | Prime Mover Description | Code | Energy Source Description | Corresponding Model Subscript | Fuel Type | Primer Mover | Model Energy Source
BA | Energy Storage, Battery | AB | Agriculture Crop Byproducts/Straw/Energy Crops | biomass | NG | CA | natural gas nonpeaker
CE | Energy Storage, Compressed Air | ANT | Anthracite Coal | hard coal | NG | CC | natural gas nonpeaker
CP | Energy Storage, Concentrated Solar Power | BFG | Blast-Furnace Gas | other | NG | CE | other
FW | Energy Storage, Flywheel | BIT | Bituminous Coal | hard coal | NG | CS | natural gas nonpeaker
PS | Energy Storage, Reversible Hydraulic Turbine (Pumped Storage) | BLQ | Black Liquor | biomass | NG | CT | natural gas nonpeaker
ES | Energy Storage, Other (specify in SCHEDULE 7) | CUR | Water, Current | hydro | NG | FC | other
ST | Steam Turbine, including nuclear, geothermal and solar steam (does not include combined cycle) | DFO | Disillate Fuel Oil (all Diesel, and No. 1, No. 2, and No. 4 Fuel Oils) | petroleum | NG | GT | natural gas peaker
GT | Combustion (Gas) Turbine (does not include the combustion turbine part of a combined cycle; see code CT, below) | GEO | Geothermal | geothermal | NG | IC | natural gas peaker
IC | Internal Combustion Engine (diesel, piston, reciprocating) | JF | Jet Fuel | petroleum | NG | OT | other
CA | Combined Cycle Steam Part | KER | Kerosene | other | NG | ST | natural gas peaker
CT | Combined Cycle Combustion Turbine Part | LFG | Landfill Gas | biomass | SUN | PV | solar pv
CS | Combined Cycle Single Shaft (combustion turbine and steam turbine share a single generator) | LIG | Lignite | lignite | SUN | ST | solar thermal
CC | Combined Cycle Total Unit (use only for plants/generators that are in planning stage, for which specific generator details cannot be provided) | MWH | Megawatt Hour (MWh) | other | WND | WT | onshore wind
HA | Hydrokinetic, Axial Flow Turbine | MSB | Biogenic Municipal Solid Waste | municipal solid waste | WND | WS | offshore wind
HB | Hydrokinetic, Wave Buoy | MSN | Non-biogenic Municipal Solid Waste | municipal solid waste
HK | Hydrokinetic, Other (specify in SCHEDULE 7) | MSW | Municipal Solid Waste | municipal solid waste | Note that NG steam turbines and solar thermal use the same prime mover code.
HY | Hydroelectric Turbine (includes turbines associated with delivery of water by pipeline) | NA | Not Available at this Time | other
BT | Turbines Used in a Binary Cycle (including those used for geothermal applications) | NG | Natural Gas | natural gas
PV | Photovoltaic | NUC | Nuclear (Uranium, Plutonium, Thorium) | nuclear
WT | Wind Turbine, Onshore | OBG | Other Biomass Gases (Digester Gas, Methane, and other Biomass Gases) | biomass
WS | Wind Turbine, Offshore | OBL | Other Biomass Liquids (Fish Oil, Liquid Acetonitrite Waste, Medical Waste, Tall Oil, ethanol, Waste Alcohol, and other Biomass Liquids not specified) | biomass
FC | Fuel Cell | OBS | Other Biomass Solids (Animal Manure and Waste, Solid Byproducts, and Other Solid Biomass not specified) | biomass
OT | Other (specify in SCHEDULE 7) | OG | Other Gas (Coke-Oven, Coal Processes, Butane, Refinery, Other Process) | other
|  | OTH | Other (Batteries, Chemicals. Hydrogen, Pitch, Sulfur, Miscellaneous technologies) | other
|  | PC | Petroleum Coke | petroleum
|  | PG | Propane | other
|  | PUR | Purchased Steam | other
|  | RC | Refined Coal | hard coal
|  | RFO | Residual Fuel Oil (Include No. 5, and No. 6 Fuel Oil, and Bunker C Fuel Oil) | petroleum
|  | SC | Coal-based Synfuel. Including briquettes, pellets, or extrusions, which are formed by binding materials or processes that recycle materials. | hard coal
|  | SGP | Synthesis Gas from Petroleum Coke | other
|  | SGC | Coal-Derived Synthetic Gas | hard coal
|  | SLW | Sludge waste | biomass
|  | SUB | Subbituminous Coal | hard coal
|  | SUN | Solar (Photovoltaic, Thermal) | solar
|  | TDF | Tires | other
|  | TID | Water, Tides | hydro
|  | WAT | Water, Conventional or Pumped Storage | hydro
|  | WC | Waste/Other Coal (Culm, Gob, Coke, and Breeze) | hard coal
|  | WDL | Woos Waste Liquids (Red Liquor, Sludge Wood, Spent Sulfite Liquor, and other Wood Related Liquids not specified) | biomass
|  | WDS | Wood/Wood Waste Solids (Paper Pellets, Railroad Ties, Utility Poles, Wood Chips, and Other Wood Solids) | biomass
|  | WH | Waste Heat | other
|  | WND | Wind | wind
|  | WO | Oil-Other, and Waste Oil (Butane (liquid), Crude Oil, Liquid Byproducts, Propane (liquid), Oil Waste, Re-Refined Motor Oil, Sludge Oil, Tar Oil) | petroleum
|  | WV | Water, Waves | hydro

## SYC-SYEGC
Start Year Capacities (MW) | preexisting | preexisting nonretiring (not used in U.S. dataset) | newly built
hard coal | 585 | 0 | 0
natural gas nonpeaker | 3368.2 | 0 | 0
nuclear | 0 | 0 | 0
hydro | 8402.3 | 0 | 0
onshore wind | 3210.2 | 0 | 0
solar PV | 312.5 | 0 | 0
solar thermal | 0 | 0 | 0
biomass | 91.8 | 0 | 0
geothermal | 19.5 | 0 | 0
petroleum | 0 | 0 | 0
natural gas peaker | 358.2 | 0 | 0
lignite | 0 | 0 | 0
offshore wind | 0 | 0 | 0
crude oil | 0 | 0 | 0
heavy or residual fuel oil | 0 | 0 | 0
municipal solid waste | 11.5 | 0 | 0

## SYC-FoPtPFP
Peakers that Provide Flexibility Points (dimensionless)
Fraction | 0.37353