## About
RM Reserve Margin
Source: | Energy + Environmental Economics
Resource Adequacy in the Pacific Northwest
2019
https://www.ethree.com/wp-content/uploads/2019/03/E3_Resource_Adequacy_in_the_Pacific-Northwest_March_2019.pdf
Page 36, Table 13. 2018 Reliability Statistics
| PRM Requirement | 12%
Using E3's reports on the PNW as applicable to Oregon. The 12% PRM is slightly lower than the
usual ~15% found in the US and CA models. This makes sense due to the large presence of
hydroelectric power in the PNW and Oregon.
NERC backs up this lower PRM in its Reference Reserve Margin metric:
"If not provided, NERC assigned 15 percent Reserve Margin for predominately thermal systems and 10 percent for predominately hydro systems."
https://www.nerc.com/pa/RAPA/ri/Pages/PlanningReserveMargin.aspx
Following notes are copied from US EPS:
Notes
The reserve margin (difference between the total generation available and the forecasted peak demand) in the U.S.
dataset doesn't vary by year, but the RM Reserve Margin variable is a time series to support countries that project
changes in future reserve margin by year.

## RM
| 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Reserve Margin | 0.12 | 0.12 | 0.12 | 0.12 | 0.12 | 0.12 | 0.12 | 0.12 | 0.12 | 0.12 | 0.12 | 0.12 | 0.12 | 0.12 | 0.12 | 0.12 | 0.12 | 0.12 | 0.12 | 0.12 | 0.12 | 0.12 | 0.12 | 0.12 | 0.12 | 0.12 | 0.12 | 0.12 | 0.12 | 0.12 | 0.12 | 0.12 | 0.12 | 0.12 | 0.12 | 0.12